## Sheet1
All NS materials are Purchased by party and work completed satisfactorily in all respects.
Estimate for Replacement of existing Single Phase MNR/NV Energy Meters by new Single Phase static Energy Meters in O&M Kadakola section of Chamundipuarm Sub Division N.R Mohalla Division Mysore
All NS materials are Purchased by LEC and work completed satisfactorily in all respects.
All NS materials are Purchased by Contractor under Partial Turn Key Basis and work completed satisfactorily in all respects.
All NS materials are adjusted from maintenance materials available at the section office and work completed satisfactorily in all respects.
All NS materials are Purchased by LEC and work completed satisfactorily in all respects.
Estimate for arranging power supply to LT5(i), 15HP Power installation, by Providing additional 1X25KVA transformer, favour of D.S Shivakumara S/o A.Shivalingappa Sy No-02 at Doora Village, in O&M Kadakola Section, Chamundipuram Sub-Division, Mysore.
pls update the dtc:119332 to dtr code:000271 .this dtc enumarated in field but not updated in Dtlms software .pls update the dtc and dtr details in the software.photos of dtc and dtr attached
Sir/Madam,
Please update the DTC code: 11D958 to dtr code:150055. This dtc enumerated in field but not updated in Dtlms software, so please update the dtc and dtr details in the software. photos of dtc and dtr attached. DOC is 15.06.2016 for both DTC & DTR
Sir/Madam,
Please change the Date of Commissioning of DTR from 05.06.2021 to 23.03.2018. for 250KVA KIADB DTC Code-119801.
DTR commissioning date was wrongly entered as 05.06.2021 at the time of updating Zero capacity, so please do needful action as early as possible for failure declaration of same DTC. The photos are enclosed
Sir/Madam,
Please change the budget head from 14.4007 to 14.1747 for the following work orders no's.
1). H-54757. Invoice no-1122300354.
2). H-54758. Invoice no-1122300355 Dated 14.06.2022.
the above work orders are sanctioned for drawing the 1 Phase and 3 Phase prepaid meters for arranging temp power supply. While preparing the estimates budget head selected as 14.4007
Thanking you.
Sir/Madam,
Please add the employee for the OM no AEKAD290 which is created for working on forth Saturday dated 23.07.2022.
1). Somashekar Kareppa Kelageri (Id No-005019).
Thanking you.
Sir/Madam,
Please add the employee of Sri.Arunkumar Hitthalamani ( ID No- 005021) to the already created OM No- AEKAD338
ESTIMATE FOR PROVIDING SINGLE PHASE PREPAID METERS TO THE NEWLY SERVICED TEMPORARY INSTALLATIONS IN O&M KADAKOLA SECTION OF CHAMUNDIPURAM SUB DIVISION
ESTIMATE FOR REPLACEMENT OF 1PH MNRNV METERS BY GOOD 1PH STATIC ENERGY METERS IN O&M KADAKOLA SECTION OF CHAMUNDIPURAM SUB DIVISION MYSORE.