## FINAL COPY
BBC PENDING DETAILS OF HARDANAHALLY SUB DIVISION
Sl No | RR No | Tarrif | Subdivision | Panchayathi | NAME & ADRESS | Sanctioned load | Connected / Rated/BMD recorded load | Nature of discripency | Date of Inspection | Level | Demanded month | units | Amount Demanded | Amount collected | Balance | PRV BBC
1 | HHP301 | LT6 | H.HALLY |  | W/S,HONNALLI VILL & PANCH | 10.3 | METER CONSTANT MISSING | METER CONSTANT MISSING | 2023-01-07 | [6 empty] | 60000
2 | HARWS238 | LT6 | H.HALLY |  | W/S CHANNAPPANAPURA OVERHEAD TANK NEAR | 7.5 | BILLING ERROR | BILLING ERROR | 2023-01-07 | [6 empty] | 35000
3 | HHP259 | LT6 | H.HALLY |  | W/S CHANNAPPANAPURA KERE NEAR | 8 | BILLING ERROR & METER STICKY | BILLING ERROR & METER STICKY | 2023-01-07 | [6 empty] | 32000
4 | HHP282 | LT6 | H.HALLY |  | W/S AMACHAVADI THAVARAKATTE MOLE ROAD | 7.5 | METER BURNT & MADE BYPASS | METER BURNT & MADE BYPASS | 2023-01-10 | [6 empty] | 18000
5 | HARWS369 | LT6 | H.HALLY |  | W/S AMACHAVADI MAHADESWARA COLONY KERE NEAR | 7.5 | BILLING ERROR | BILLING ERROR | 2023-02-09 | [6 empty] | 14000
6 | HUDL4812 | LT2 | H.HALLY |  | SWAMY MADEGOWDA VERANAPURA CROSS BASAVESWARA BAKERY | 0.24KW | TARIFF CHANGE | LT2A TO LT3 | 2023-03-03
7 | HUDL4813 | LT2 | H.HALLY |  | SWAMY MADEGOWDA VERANAPURA CROSS BASAVESWARA BAKERY | 0.24KW | TARIFF CHANGE | LT2A TO LT3 | 2023-03-03
8 | V533 | LT3 | H.HALLY |  | RELIANCE TOWER V CHATRA | 2KW | EXCESS LOAD | LOAD 2.8 KW | 2023-03-13
9 | HHDWS379 | LT6 | H.HALLY |  | PUMP HOUSE KUDIHUGNE | 21HP | EXCESS BMD | EXCESS BMD (19.9,20.1,23.6,20,19.9,21.3) | 2023-03-27
|  |  | SUB DIVISION | TARIFF | NO OF CASES
|  |  | HARADANHALLI | LT3 | 1
|  |  |  | LT4 | 0
|  |  |  | LT7 | 0 |  |  | Assistant Executive Engineer(ele)
|  |  |  | LT6 | 6 |  | LT rating Sub division
|  |  |  | LT2 | 2 |  |  | CESC,Chamarajanagara.
9

## Sheet1
1 | VL192 | LT2 | H.HALLY | UDIGALA | MAQSOOD PAZA S/O C MUKTHAR PASHA SY NO 50/2 VEERANAPURA | 0.44KW | 2.2KW | BMD(2.8, 2.9 2,.8, 2.9, 3.1, 3KW ) | 2022-08-03 | bmd billed in regular bill
2 | HHDL2569 | LT2 | H.HALLY | H.HALLY | K SURESH S/O KUMARASWAMY | 1 | BILLING DIFFERENCE | READING DIFFERENCE | 2022-12-27 | meter abnormal