## Sheet1 (2)
Sl No | RR No | Consumer Address | Tariff | CD | CT Ratio | Constant | Type Of Cubicle |  |  | HT Metering cubicle outgoing | Incoming GOS status | Incoming HG Fuse unit | Remarks
[7 empty] | Overhead /UG Cable | 2 CT/PT | 3 CT/PT | DP+GOS or LBS
1 | HSHT107 | AEE PRE RSWSUB DVN HDKOTE JACKWELL | HT1 | 100KW | 5/1 | 500 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
2 | HSHT108 | AEE PRE RSW SUB DVN HDKOTE WATER TREATMENT PLANT, | HT1 | 100KW | 5/1 | 500 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
3 | HTK1 | ASST., EXEC., ENGG, KABINI IRRIGATION DIVN | HT2A | 100KW | 5/5 | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
4 | HTK5 | M/S SUBASH KABINI POWER POWER GENERATION | HT2B | 63KW | 5/5 | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD | PD
5 | HTK6 | THE MANAGING DIRECTOR, JUNGLE LODGES AND RESORTS | HT2B | 60KW | 5/5 | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
6 | HTS9 | MANAGING DIRECTOR, Managing Derector, M/s Orange County, Kabini 000 | HT2B | 250KW | 10/5 | 1250 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
7 | HTK10 | GENERAL MANAGER, Serai Resorts | HT2B | 175KW | 10/1 | 1000 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
8 | HTA13 | M/S Red Earth Good Living | HT2B | 95HP |  | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
9 | HSHT61 | M/S WATER WOODS LODGES & RESORT PVT LTD | HT2B | 60KW |  | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
10 | HHDHT75 | M/S KAYS YESS RESORT | HT2B | 82KVA | 5/1 | 500 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
11 | HSHT97 | MANAGING DIRECTOR,M/S KAAV SAFARI LODGE(kabini holiday homes pvt ldt) | HT2B | 70KW | 5/1 | 500 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
12 | HSHT102 | SRI PRASHANTHPRAKASH DISCOVERY VILLAGE RESORT | HT2B | 90KW | 5/1 | 500 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
13 | HTS7 | PRESIDENT, SWAMY VIVEKANANDA YOUTH MOVMENT HEALTH CENTRE | HT2C(I) | 75KW | 5/1 | 500 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
14 | HSHT104 | THE PRINCIPLE morarji residential school | HT2C(I) | 50KW | 2.5/1 | 250 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
15 | HTS4 | ASST EXEC., ENGG MINOR IRRIGATION SUB DIVN | HT3A(I) | 92HP | 5/5 | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
16 | HTA12 | ASST EXEC., ENGG MINOR IRRIGATION SUB DIVN | HT3A(I) | 90HP | 5/5 | 100 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD
17 | HDEHT1 | EXECUTIVE ENGINEER K R DIVISION, CNNL, KABINI COLONY | HT3A(I) | 7176HP | 120/1 | 72 | UG Cable | _ | 3 CT/PT | DP+GOS | GOOD | GOOD